Solar Electricity Worksheet

Solar cells – Photovoltaics - PVs

Go to the solar electricity display.

Solar cells are called photovoltaic cells (PVs for short).

What do they actually do?

PVs are made of silicon ‘doped’ with such impurities as phosphorus, boron or arsenic to make a semiconductor. There are two layers, each doped with different impurities.

When enough light falls on them a current flows. One cell produces a voltage of 0.45V.

The current varies according to the light level.

Look at the Solar powered pump. It has 5 panels of cells (each circle is a cell). What voltage do you think each panel is designed to produce? (there is an extra margin to guarantee they produce what is required)

Do you think the panels are linked in series or in parallel?

In maximum sunlight each cell will produce a watt of power. How much will each panel produce?

When will they produce their maximum output?

Is it pumping water at the moment?

Would you expect it to be, given the weather, time of day and time of year?

If the pump is working, put the clouds over the panels. Try to get the pump to slow to the point where it actually stops briefly.

What is the function of the capacitors?

Which direction are all these solar cells facing?

Why do they face this way?

Why are they set at the angle they are?

Look up at the roofs of the buildings around you. One of them is covered with solar cells. These solar cells should produce a maximum of 13.5kW of electricity.

Sometimes they will produce less than this and sometimes they will produce nothing.

Draw an estimated graph of the average power output from this roof.

Jan	Feb	Mar	Apr	May	Jun	Jul	Aug	Sep	Oct	Nov	Dec

Behind the restaurant there is a control room with a large window. Inside there you will see a computer screen which gives all sorts of information about the solar roof. At the bottom of the screen in the middle there is a little box labelled “overall output power (kW)”. What is it producing right now?

In practice, the output of this roof is less than we hoped. The whole array of cells generates power at 200V dc. It then goes to a converter where it is increased to 800V. It is then either fed to the mains (converted to 240V ac first) or is changed to 48V and fed into batteries.

Where do you think it is losing energy?

How much did this roof cost?

Look at the display panels with information about solar electricity. Look for the picture of a house in Oxford which has solar cells on its roof.

How much did those solar cells cost?

That house in Oxford also uses solar energy in other ways. What other ways?

Solar cells have no moving parts so should need no maintenance. Give two examples of the sort of situation where this makes them a suitable source of power for a very practical use.